Summary of New IAQ Requirements
HB 2618/SB1413
Enacted April 2,2025
Christina P. Berta , Chief Operations Officer
Vijay Ramnarain, Director Office of Support Services
[Speaker Notes: Good Morning. I’m happy to be here to learn about the strategies you are all taking to meet the requirements of the recently enacted legislation. But first, as background to these conversations, I would like to outline the requirements of the legislation. I understand that complying with this piece of legislation is particularly challenging, and I am interested to hear about your creative and cost-effective funding approaches. I would like to remind everyone that the SCAP grants as well as Literary Loans are some vehicles for funding HVAC projects that may evolve from inspections and evaluations.]

---
Legislation: HB 2618
HB 2618 - Public School Buildings; Indoor Air Quality, Inspection and Evaluation
Enacted April 2, 2025; effective July 1, 2025
Code of Virginia Title 22.1 Education
  - Chapter 9 School Property
  - Article 4 Indoor Air Quality, Inspection and Evaluation
[Speaker Notes: Early last year, HB 2618 was introduced in the House. It was passed in the House and Senate with some substitutions, signed and enacted on April 2, 2025. It became effective July 1, 2025. It can be found in the Code of VA in Title 22.1, Chapter 4, Article 4.]

---
Summary
Establishes requirements for local school divisions on Indoor Air Quality
Inspection and evaluation program at least once every 4 years
[Speaker Notes: In general, this bill established Indoor Air Quality requirements for all public school buildings in Virginia. School Divisions are required to perform inspections and evaluations of HVAC systems and components for all their school buildings every 4 years. The first report as a result of the inspections and evaluations will be due in 2029 to school division school boards.]

---
Inspection and Evaluation: Every 4 years
“Industry-Recognized” uniform inspection and evaluation of HVAC
  - In each public school in the division
  - Performed by:
    - Certified testing, adjusting, and balancing technician
    - Industrial hygienist
    - Technician with a Master HVAC License
    - Mechanical Engineer
[Speaker Notes: The Inspections and Evaluations of each school’s HVAC should be performed by: Certified testing, adjusting, and balancing technician Industrial hygienist certified by the American Board of Industrial Hygiene Technician with a Master HVAC License from the Department of Professional and Occupational Regulation or a Mechanical Engineer Certified testing, adjusting and balancing technician refers to: A technician, tradesperson or apprentice certified to provide testing adjusting and balancing of HVAC systems by Associated Air Balance Council National Environmental Balancing Bureau A person certified for HVAC ventilation assessments through an accredited American National Standards Institute certification body]

---
Inspection and Evaluation includes:
Maximum filter efficiency
Outside air delivery rate
Condition and operation of ventilation components
Air distribution system – outside air, return air, supply air, static pressure readings at all components
Operation and maintenance in accordance to ASHRAE
CO2 sensors and CO2 concentrations
Collecting data for installing mechanical ventilation if there is none
[Speaker Notes: Inspection and Evaluation includes: 1. Testing for maximum filter efficiency; 2. Physical measurements of outside air delivery rate; 3. Verification of the appropriate condition and operation of ventilation components; 4. Measurement of air distribution system including: outside air, return air, and supply air and static pressure readings across all air handling unit components, including filters, coils, and fans; 5. Verification that the unit is operating and that required maintenance has been performed in accordance with ASHRAE indoor ventilation standards 6. Verification of carbon dioxide sensors and acceptable carbon dioxide concentrations indoors; and 7. Collection of field data for the installation of mechanical ventilation if none exists.]

---
Ventilation System
Ventilation system and components inspected and evaluated in accordance with ASHRAE standards for appropriate ventilation in schools
[Speaker Notes: In particular, ventilation systems and their components -- including any existing central or noncentral mechanical ventilation system -- should be evaluated to ensure they are providing appropriate ventilation to the school building in accordance with ASHRAE indoor ventilation standards.]

---
Reporting Requirements
Written report of the inspection and evaluation results identifying corrective actions necessary including:
    - Installation of filters for most optimal level of filtration
    - Installation of CO2 sensors
    - Additional maintenance, repairs, upgrades or replacement needed
Report to be submitted at a regular school board meeting
Report to be posted on school board’s website
[Speaker Notes: The written report of the results of the uniform inspection and evaluation should include corrective actions necessary for the mechanical ventilation system; the HVAC infrastructure, installation of filters for optimal filtration for a given heating, ventilation, and air conditioning system, installation of carbon dioxide sensors, and additional maintenance, repairs, upgrades, or replacement The report shall be made available to the public at a regularly scheduled local school board meeting The report shall be posted on the school board's public website]

---
Exception to Reporting Requirements
Uniform inspection and evaluation not required for schools no longer used within a year
[Speaker Notes: A uniform inspection and evaluation is not required for any school building that will not be used as a school within one year of a planned inspection and evaluation.]

---
Questions?
[Speaker Notes: Thank you for your attention. I am happy to answer any questions you may have.]